{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["CAPTAR Report","Definitions","Data","CodingSheetSource"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":6,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"CAPTAR Report","index":0,"n_rows":254,"n_cols":44,"rows_kept":254,"cut":false,"hidden":false,"merged":[[2,15,2,24],[2,5,2,14],[0,0,3,0]]}
["Max length of data in # of  characters","Original from 1995, updated by NF 4/19/2016, CH added new variables and max. character check 7/06/2022 by NF."]
[null,9,14,33,8,6,6,1,2,6,8,16,7,6,3,6,6,1,2,6,8,16,7,6,3,4,200,2,6,null,null,null,80,7,null,null,null,null,null,null,null,6,6,6]
[null,null,null,null,null," - - -          Origin Termination Point          - - -",null,null,null,null,null,null,null,null,null," - - -  Destination Termination Point  - - -",null,null,null,null,null,null,null,null,null," "]
[null,"Cable #","Formal Device Name","Cable Function","Cable Type","Loc","Rack","Sid","Ele","Slot","Conn #","Pin List","Conn. Type","Station","Ins","Loc","Rack","Sid","Ele","Slot","Conn #","Pin List","Conn. Type","Station","Ins","Length","Routing","Revision","Job #","Drawing #","Drawing Title","User ID","List Title","Area Cd","Phase","Beam Line Area","Sector Group","Sector Area Source","Sector Area Dest","Penetration","Penetration II","Min Length","Max Length","Additional cable length required"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
["10"]
["11"]
["12"]
["13"]
["14"]
["15"]
["16"]
["17"]
["18"]
["19"]
["20"]
["21"]
["22"]
["23"]
["24"]
["25"]
["26"]
["27"]
["28"]
["29"]
["30"]
["31"]
["32"]
["33"]
["34"]
["35"]
["36"]
["37"]
["38"]
["39"]
["40"]
["41"]
["42"]
["43"]
["44"]
["45"]
["46"]
["47"]
["48"]
["49"]
["50"]
["51"]
["52"]
["53"]
["54"]
["55"]
["56"]
["57"]
["58"]
["59"]
["60"]
["61"]
["62"]
["63"]
["64"]
["65"]
["66"]
["67"]
["68"]
["69"]
["70"]
["71"]
["72"]
["73"]
["74"]
["75"]
["76"]
["77"]
["78"]
["79"]
["80"]
["81"]
["82"]
["83"]
["84"]
["85"]
["86"]
["87"]
["88"]
["89"]
["90"]
["91"]
["92"]
["93"]
["94"]
["95"]
["96"]
["97"]
["98"]
["99"]
["100"]
["101"]
["102"]
["103"]
["104"]
["105"]
["106"]
["107"]
["108"]
["109"]
["110"]
["111"]
["112"]
["113"]
["114"]
["115"]
["116"]
["117"]
["118"]
["119"]
["120"]
["121"]
["122"]
["123"]
["124"]
["125"]
["126"]
["127"]
["128"]
["129"]
["130"]
["131"]
["132"]
["133"]
["134"]
["135"]
["136"]
["137"]
["138"]
["139"]
["140"]
["141"]
["142"]
["143"]
["144"]
["145"]
["146"]
["147"]
["148"]
["149"]
["150"]
["151"]
["152"]
["153"]
["154"]
["155"]
["156"]
["157"]
["158"]
["159"]
["160"]
["161"]
["162"]
["163"]
["164"]
["165"]
["166"]
["167"]
["168"]
["169"]
["170"]
["171"]
["172"]
["173"]
["174"]
["175"]
["176"]
["177"]
["178"]
["179"]
["180"]
["181"]
["182"]
["183"]
["184"]
["185"]
["186"]
["187"]
["188"]
["189"]
["190"]
["191"]
["192"]
["193"]
["194"]
["195"]
["196"]
["197"]
["198"]
["199"]
["200"]
["201"]
["202"]
["203"]
["204"]
["205"]
["206"]
["207"]
["208"]
["209"]
["210"]
["211"]
["212"]
["213"]
["214"]
["215"]
["216"]
["217"]
["218"]
["219"]
["220"]
["221"]
["222"]
["223"]
["224"]
["225"]
["226"]
["227"]
["228"]
["229"]
["230"]
["231"]
["232"]
["233"]
["234"]
["235"]
["236"]
["237"]
["238"]
["239"]
["240"]
["241"]
["242"]
["243"]
["244"]
["245"]
["246"]
["247"]
["248"]
["249"]
["250"]

{"sheet":"Definitions","index":1,"n_rows":43,"n_cols":3,"rows_kept":43,"cut":false,"hidden":false,"merged":[[16,1,16,15],[11,1,11,15],[12,1,12,15],[13,1,13,15],[14,1,14,15],[15,1,15,15],[7,1,7,15],[8,1,8,15],[9,1,9,15],[9,18,9,21],[10,1,10,15],[26,1,26,15],[27,1,27,15],[28,1,28,15],[29,1,29,15],[17,1,17,15],[3,1,3,15],[20,1,20,15],[42,1,42,15],[43,1,43,15],[44,1,44,15],[37,1,37,15],[38,1,38,15],[39,1,39,15],[40,1,40,15],[41,1,41,15],[31,1,31,15],[32,1,32,15],[33,1,33,15],[34,1,34,15],[35,1,35,15],[36,1,36,15],[4,2,4,15],[48,1,48,15],[49,1,49,15],[50,1,50,15],[51,1,51,15],[45,1,45,15],[46,1,46,15],[47,1,47,15],[30,1,30,15],[18,1,18,15],[19,1,19,15],[21,1,21,15],[22,1,22,15],[23,1,23,15],[24,1,24,15],[25,1,25,15]]}
[]
[null,"Definitions:"]
[]
[null,"Note: \n1. Fill out cable list for Intra rack cables in a separate file to that of longhaul cables.\n2. Refer to cable plant notes for additional details: https://www.slac.stanford.edu/eprise/cable/captar/gnw/gnw.htm"]
[null,null,"Identifies required field for cable routing and installation. Additional fields will need to be filled out for cable installation. "]
[]
[]
[null,"Cable # - Lists the cable identification number, a number that is unique to a single cable installed at SLAC."]
[null,"FormalDevice Name - Is the SLAC formal name for the system of which the indicated cable is a component. It is listed herein in order to allow \nquick reference to the actual control, readout, or other system as questions may occur. Example: QUAD:PI00,5920."]
[null,"Cable function - Gives a brief description of the function of the cable."]
[null,"Cable type - Gives the standard designation or an abbreviated form of a cable."]
[null,"Origin Loc - Provides the location of the cable's origin."]
[null,"Origin Rack - Indicates the number of the origin rack or the name of the origin device. If the origin device is a MAD device, name in this colum shall match with element name in MAD Deck."]
[null,"Origin Side - Identifies the side of the rack (Front or Back) where a cable originates from. "]
[null,"Origin Ele - Indicates the Chassis elevation (within the rack) where the cable originates from."]
[null,"Origin Slot - Identifies the slot in a crate within a rack."]
[null,"Origin Conn # - indicates Origin connector number (Jack number, terminal block number…) to identify a specific connector on a chassis."]
[null,"Origin Pinlist - provides the origin pin number (within a connector) to connect to or a drawing number that shows connections at the origin pins."]
[null,"Origin Conn Type - Gives the standard designation for type of connector to be used at the origin side of a cable."]
[null,"Origin Station - Z-location of the cable origin (if applicable)."]
[null,"Origin Ins - Is a code which indicates when, and by whom, the origin end of a cable is terminated and connected."]
[null,"Dest Loc - Provides the location of the cable's destination."]
[null,"Dest Rack - Indicates the number of the destination rack or the name of the destination device. If the destination device is a MAD device, name in this colum shall match with element name in MAD Deck."]
[null,"Dest Side - Identifies the side of the rack (Front or Back) at the cable's destination. "]
[null,"Dest Ele - Indicates the Chassis elevation (within the rack) at the cable's destination."]
[null,"Dest Slot - Identifies the slot in a crate within a rack."]
[null,"Dest Conn # - Indicates destination connector number (Jack number, terminal block number…) to identify a specific connector on a chassis."]
[null,"Dest Pinlist - Provides a destination pin number (within a connector) to connect to or a drawing number that shows connections at the destination pins."]
[null,"Dest Conn Type - Gives the standard designation for type of connector to be used at the destination side of a cable."]
[null,"Dest Station - Z-location of the cable destination (mostly applicable)."]
[null,"Dest Ins - Is a code which indicates when, and by whom, the destination end of a cable is terminated and connected."]
[null,"Length - Gives the estimated cable length in feet. The exact length can be verified in field."]
[null,"Routing - Refers to the routing of the cable in cale trays and conduits. Please insert voltage level of the cable here as IC or DCV or CV or HV."]
[null,"Revision - Indicates the change level for the indicated cable only. Blank indicates no change.\"1\" ndicates one change,etc. "]
[null,"Job # - Indicates Job number for a given cable."]
[null,"Drawing # - Provides drawings associated with a given cable."]
[null,"Drawing Title - Provides title of a drawing (Empty for most LCLS-II cables)."]
[null,"User ID - Identifies the peron who updates the cable data in CAPTAR."]
[null,"List Title - This column identifies: Name of Engineer - Project - Sub system - Area."]
[null,"Area Code - Indicates project name."]
[null,"Min Length - Indicates minimum length required for a cable (if applicable)."]
[null,"Max Length - Indicates maximum length required for a cable (if applicable)."]
[null,"Additional cable length required - Indicates additional cable length needed on top of estimated cable length (if applicable)."]

{"sheet":"Data","index":2,"n_rows":231,"n_cols":17,"rows_kept":231,"cut":false,"hidden":false,"merged":[]}
["How To for pull down menues"]
["Under the Excel \"Data\" menue there is \"Data Validation\". In \"Setting\" chose \"List\". "]
["For updating the list: Sort the items to your liking (alphabethically or an order which makes the most sense for a special project) and select the updated list following the instructions above."]
["This sheet is password protected, so only the \"CAPTAR Tsar\" can edit it. The password is \"unprotect\"."]
[]
[]
["Area Code",null,"Beam Line Area",null,"Sector Group",null,"Sector Area",null,"Penetration",null,"CableType",null,"Connector Type",null,"Instructions",null,"Phase"]
[]
["XTCAV2",null,"na",null,"S00-10",null,"B005",null,"B105P61",null,"1/0TLSNH",null,"VAT7S",null,"0AI",null,1]
["XLEAP2",null,"SC-Linac",null,"S11-20",null,"B105",null,"B106P17",null,"1/2HELA",null,"USB",null,"0SC",null,2]
["SXRSS",null,"HXR-Line",null,"S21-30",null,"B106",null,"B136P01",null,"1/2HELFR",null,"TT8S-R",null,"0SO",null,3]
["SSRL",null,"S30XL-Line",null,"BSY","BSY including A- and B-Line (but not BTH-west and BTR)","B136",null,"B136P02",null,"1/2HELSF",null,"TT8SR",null,0,null,4]
["SPEAR3",null,"SXR-Line",null,"BUF","BTH-West/BTH/UND/FEE","B905",null,"B136P03",null,"1/4HELS",null,"TT8S",null,1,null,"A"]
["SPEAR",null,"LDT-Global",null,null,null,"B911",null,"B136P04",null,"1/4HSFX3",null,"TT8PJ",null,2,null,"B"]
["S30XL",null,"FACET2",null,null,null,"B912",null,"B136P05",null,"10PR18AS",null,"TT8P",null,3,null,"C"]
["PEPPEX",null,null,null,null,null,"B913",null,"B911P01",null,"10PR20TN",null,"TT4S",null,4,null,"D"]
["PEPII",null,null,null,null,null,"B921",null,"B911P03",null,"10PR22OS",null,"TT4P",null,5,null,"A1"]
["PEP",null,null,null,null,null,"BSY",null,"B911P05",null,"12C18TLN",null,"TT3P",null,6,null,"A2"]
["P",null,null,null,null,null,"BTH",null,"B911P06",null,"12PR16AS",null,"TT30P",null,7,null,"A3"]
["OP-JNT",null,null,null,null,null,"LTU",null,"B911P07",null,"12PR18AS",null,"TT23S",null,8,null,"A4"]
["OP-COMM",null,null,null,null,null,"UND",null,"B912P01",null,"12PR18TN",null,"TT23P",null,9,null,"B1"]
["OP-ACPW",null,null,null,null,null,"FEE",null,"B912P02",null,"12PR20IS",null,"TT22P",null,10,null,"B2"]
["NLCTA",null,null,null,null,null,"EBD",null,"B912P03",null,"12PR20SA",null,"TT19S",null,11,null,"B3"]
["MR",null,null,null,null,null,"NEH",null,"B912P05",null,"12PR22IS",null,"TT19P",null,12,null,"B4"]
["MISC",null,null,null,null,null,"RSY",null,"B912P06",null,"12PR24ITN",null,"TT12SJ",null,13,null,"C1"]
["MCC",null,null,null,null,null,"IV10",null,"B912P07",null,"12PR24TN",null,"TT12S1412",null,"97",null,"C2"]
["LUSI",null,null,null,null,null,"Sector00",null,"B913P01",null,"14PR18TN",null,"TT12S",null,98,null,"C3"]
["LINAC",null,null,null,null,null,"Sector01",null,"B913P02",null,"15C20OTN",null,"TT12PJ",null,99,null,"C4"]
["LCLSII-HE",null,null,null,null,null,"Sector02",null,"B913P03",null,"16PR18OS",null,"TT12P",null,"M",null,"D1"]
["LCLSII",null,null,null,null,null,"Sector03",null,"B913P09",null,"16PR22OS",null,"TRIAX",null,"P",null,"D2"]
["LCLS",null,null,null,null,null,"Sector04",null,"B913P10",null,"18PR22AW",null,"TBD",null,"S",null,"D3"]
["L2SI",null,null,null,null,null,"Sector05",null,"B913P11",null,"18PR22IS",null,"STRIP",null,"SS",null,"D4"]
["I",null,null,null,null,null,"Sector06",null,"B913P12",null,"18PR22IT",null,"SPC0215A"]
["FFTB",null,null,null,null,null,"Sector07",null,"B913P13",null,"18PR22ITN",null,"SPC0204A"]
["FF",null,null,null,null,null,"Sector08",null,"B913P14",null,"18PR22OS",null,"SOLDER"]
["FACET2",null,null,null,null,null,"Sector09",null,"B913P15",null,"18PR22TN",null,"SMA240"]
["FACET",null,null,null,null,null,"Sector10",null,"B913P17",null,"19PR18OS",null,"SMA223FP"]
["DR",null,null,null,null,null,"Sector11",null,"B913P20",null,"19PR18XS",null,"SMA200"]
["COMMON",null,null,null,null,null,"Sector12",null,"B913P21",null,"1PR18OS",null,"SMA1/4H"]
["CLTS",null,null,null,null,null,"Sector13",null,"B913P22",null,"1PR18TLN",null,"SMA"]
["CID",null,null,null,null,null,"Sector14",null,"B914P20",null,"1PR18XS",null,"SHV-C"]
["CAMP",null,null,null,null,null,"Sector15",null,"B921P00",null,"1PR20OS",null,"SHV58"]
["BSY",null,null,null,null,null,"Sector16",null,"B921P02",null,"1PR20XS",null,"SHV-10K"]
["BABAR",null,null,null,null,null,"Sector17",null,"B921P03",null,"1PR22AWG",null,"SHV"]
["ARCS",null,null,null,null,null,"Sector18",null,"B921P04",null,"1PR22OS",null,"sensor"]
["33D",null,null,null,null,null,"Sector19",null,"B921P05",null,"1PR22OSL",null,"SCSI-2"]
["31E",null,null,null,null,null,"Sector20",null,"B921P06",null,"1PR22SR",null,"SC"]
["28F",null,null,null,null,null,"Sector21",null,"B921P10",null,"20C20TLN",null,"SAFECON-C"]
[null,null,null,null,null,null,"Sector22",null,"B921P11",null,"22PR22TN",null,"RJ45S"]
[null,null,null,null,null,null,"Sector23",null,"B921P12",null,"24PR16AS",null,"RJ45P"]
[null,null,null,null,null,null,"Sector24",null,"B921P13",null,"24PR18AS",null,"RJ45"]
[null,null,null,null,null,null,"Sector25",null,"B921P14",null,"24PR22TN",null,"PUSHON"]
[null,null,null,null,null,null,"Sector26",null,"B921P15",null,"2C10TLNU",null,"PREFAPF"]
[null,null,null,null,null,null,"Sector27",null,"S00P01",null,"2C12TLNU",null,"PREFABX"]
[null,null,null,null,null,null,"Sector28",null,"S00P03",null,"2C16T6V",null,"PREFAB-VQ"]
[null,null,null,null,null,null,"Sector29",null,"S00P04",null,"2C18OTN",null,"PREFAB-PF"]
[null,null,null,null,null,null,"Sector30",null,"S01P01",null,"2C18TLN",null,"PREFAB-HF"]
[null,null,null,null,null,null,null,null,"S01P03",null,"2C18TLNU",null,"PREFAB-HD"]
[null,null,null,null,null,null,null,null,"S01P07",null,"2C2TLSNU",null,"PREFAB-EX"]
[null,null,null,null,null,null,null,null,"S01P12",null,"2C4TLNU",null,"PREFAB"]
[null,null,null,null,null,null,null,null,"S01P14",null,"2C6LSNH",null,"PLC30P"]
[null,null,null,null,null,null,null,null,"S01P15",null,"2C6LSZH",null,"PHONO"]
[null,null,null,null,null,null,null,null,"S01P16",null,"2PR",null,"NM50PL"]
[null,null,null,null,null,null,null,null,"S02P01",null,"2PR16AS",null,"NM50FX"]
[null,null,null,null,null,null,null,null,"S02P02",null,"2PR16IS",null,"NL4FC"]
[null,null,null,null,null,null,null,null,"S02P03",null,"2PR16XS",null,"N7/8HP"]
[null,null,null,null,null,null,null,null,"S02P05",null,"2PR18AS",null,"N600BJ"]
[null,null,null,null,null,null,null,null,"S02P10",null,"2PR18OS",null,"N600"]
[null,null,null,null,null,null,null,null,"S02P14",null,"2PR18TLN",null,"N400BJ"]
[null,null,null,null,null,null,null,null,"S02P15",null,"2PR18XS",null,"N400"]
[null,null,null,null,null,null,null,null,"S02P16",null,"2PR20IS",null,"N3/8HP"]
[null,null,null,null,null,null,null,null,"S02P17",null,"2PR20OS",null,"N240BJ"]
[null,null,null,null,null,null,null,null,"S03P01",null,"2PR20TN",null,"N240"]
[null,null,null,null,null,null,null,null,"S03P02",null,"2PR20XS",null,"N214"]
[null,null,null,null,null,null,null,null,"S03P03",null,"2PR22IS",null,"N200"]
[null,null,null,null,null,null,null,null,"S03P04",null,"2PR22ITN",null,"N1/4HP"]
[null,null,null,null,null,null,null,null,"S03P05",null,"2PR22OS",null,"N1/4BJ"]
[null,null,null,null,null,null,null,null,"S03P06",null,"2PR22OSAX",null,"N1/2HP"]
[null,null,null,null,null,null,null,null,"S03P07",null,"2T18C1",null,"N1/2HJ"]
[null,null,null,null,null,null,null,null,"S03P08",null,"2T2C1",null,"N1/2HC"]
[null,null,null,null,null,null,null,null,"S03P09",null,"2T6C1",null,"MTPX6"]
[null,null,null,null,null,null,null,null,"S03P10",null,"2T8C1",null,"MTPX4"]
[null,null,null,null,null,null,null,null,"S03P11",null,"3/8HELFN",null,"MTPX24"]
[null,null,null,null,null,null,null,null,"S03P12",null,"3/8HELFR",null,"MTPX2"]
[null,null,null,null,null,null,null,null,"S03P13",null,"3076F",null,"MTP-U-M"]
[null,null,null,null,null,null,null,null,"S03P14",null,"32C18TLN",null,"MTP-U-F"]
[null,null,null,null,null,null,null,null,"S03P15",null,"350TLSNH",null,"MTP"]
[null,null,null,null,null,null,null,null,"S03P16",null,"36PR16AS",null,"MS8S"]
[null,null,null,null,null,null,null,null,"S03P17",null,"36PR18IS",null,"MS6P"]
[null,null,null,null,null,null,null,null,"S04P01",null,"36PR18XS",null,"MS32S"]
[null,null,null,null,null,null,null,null,"S04P02",null,"3C12ITN",null,"MS32P-R"]
[null,null,null,null,null,null,null,null,"S04P03",null,"3C12OTN",null,"MS26P"]
[null,null,null,null,null,null,null,null,"S04P04",null,"3C14FLX",null,"MS19S"]
[null,null,null,null,null,null,null,null,"S04P06",null,"3C22OS",null,"MS12S"]
[null,null,null,null,null,null,null,null,"S04P09",null,"3PR16OTN",null,"MANUF"]
[null,null,null,null,null,null,null,null,"S04P11",null,"3PR18ITN",null,"M12-R-F"]
[null,null,null,null,null,null,null,null,"S04P13",null,"3PR18TLN",null,"M124P"]
[null,null,null,null,null,null,null,null,"S04P15",null,"3PR22IS",null,"LSY#8"]
[null,null,null,null,null,null,null,null,"S04P16",null,"4/0TLSNH",null,"LSR#8"]
[null,null,null,null,null,null,null,null,"S05P01",null,"40C20OS",null,"LSR#6"]
[null,null,null,null,null,null,null,null,"S05P02",null,"4C20",null,"LSB#8"]
[null,null,null,null,null,null,null,null,"S05P03",null,"4C20TN",null,"LSB#6"]
[null,null,null,null,null,null,null,null,"S05P04",null,"4C2AS",null,"LRY#8"]
[null,null,null,null,null,null,null,null,"S05P05",null,"4C8AS",null,"LRY#6"]
[null,null,null,null,null,null,null,null,"S05P06",null,"4PR16AS",null,"LRY#10"]
[null,null,null,null,null,null,null,null,"S05P07",null,"4PR16OS",null,"LRR#6"]
[null,null,null,null,null,null,null,null,"S05P08",null,"4PR16XS",null,"LFR"]
[null,null,null,null,null,null,null,null,"S05P09",null,"4PR18AS",null,"LFB"]
[null,null,null,null,null,null,null,null,"S05P10",null,"4PR18ITN",null,"LEMOHV2"]
[null,null,null,null,null,null,null,null,"S05P11",null,"4PR18OS",null,"LEMOHV1"]
[null,null,null,null,null,null,null,null,"S05P12",null,"4PR18OTN",null,"LEMO2PK"]
[null,null,null,null,null,null,null,null,"S05P13",null,"4PR18XS",null,"LEMO100P"]
[null,null,null,null,null,null,null,null,"S05P14",null,"4PR20ITN",null,"LEMO100"]
[null,null,null,null,null,null,null,null,"S05P15",null,"4PR20OS",null,"LEMO"]
[null,null,null,null,null,null,null,null,"S05P16",null,"4PR20XS",null,"LC-UPC"]
[null,null,null,null,null,null,null,null,"S06P01",null,"4PR22IS",null,"LCSM09"]
[null,null,null,null,null,null,null,null,"S06P02",null,"4PR22ITN",null,"LC-QUAD"]
[null,null,null,null,null,null,null,null,"S06P03",null,"4PR22OS",null,"LCMM50"]
[null,null,null,null,null,null,null,null,"S06P04",null,"4PR22OSAX",null,"LC-DUP"]
[null,null,null,null,null,null,null,null,"S06P05",null,"4PR22TN",null,"LC"]
[null,null,null,null,null,null,null,null,"S06P06",null,"4PR22XS",null,"LB8-6"]
[null,null,null,null,null,null,null,null,"S06P07",null,"4THHN",null,"LB8-3"]
[null,null,null,null,null,null,null,null,"S06P08",null,"500TLSNH",null,"LB6-6"]
[null,null,null,null,null,null,null,null,"S06P09",null,"50PR16AS",null,"LB6-3"]
[null,null,null,null,null,null,null,null,"S06P10",null,"50PR18OS",null,"LB60-8R"]
[null,null,null,null,null,null,null,null,"S06P11",null,"5PR22OS",null,"LB50D8F"]
[null,null,null,null,null,null,null,null,"S06P12",null,"6C20",null,"LB50D6FS"]
[null,null,null,null,null,null,null,null,"S06P13",null,"6PR16AS",null,"LB50D6FL"]
[null,null,null,null,null,null,null,null,"S06P14",null,"6PR16IS",null,"LB50-6F"]
[null,null,null,null,null,null,null,null,"S06P15",null,"6PR16ITN",null,"LB4-3"]
[null,null,null,null,null,null,null,null,"S06P16",null,"6PR16OTN",null,"LB35D8FL"]
[null,null,null,null,null,null,null,null,"S06P17",null,"6PR18AS",null,"LB35D6FL"]
[null,null,null,null,null,null,null,null,"S07P01",null,"6PR18ITN",null,"LB35-8F"]
[null,null,null,null,null,null,null,null,"S07P02",null,"6PR18OS",null,"LB35-6FL"]
[null,null,null,null,null,null,null,null,"S07P03",null,"6PR18XS",null,"LB2-6S"]
[null,null,null,null,null,null,null,null,"S07P04",null,"6PR20OS",null,"LB2-3"]
[null,null,null,null,null,null,null,null,"S07P05",null,"6PR22ITN",null,"LB04D8F"]
[null,null,null,null,null,null,null,null,"S07P11",null,"6PR22OS",null,"LB04D6FL"]
[null,null,null,null,null,null,null,null,"S08P04",null,"6PR22OSAX",null,"LB04-6"]
[null,null,null,null,null,null,null,null,"S08P06",null,"7/8HELAN",null,"LB01-8F"]
[null,null,null,null,null,null,null,null,"S08P12",null,"7/8HELFR",null,"LB01-6"]
[null,null,null,null,null,null,null,null,"S09P04",null,"8C16TLN",null,"HV-C"]
[null,null,null,null,null,null,null,null,"S09P14",null,"8PR16AS",null,"HD44S"]
[null,null,null,null,null,null,null,null,"S10P05",null,"8PR18AS",null,"HD44P"]
[null,null,null,null,null,null,null,null,"S10P06",null,"8PR18ITN",null,"HD15M"]
[null,null,null,null,null,null,null,null,"S10P14",null,"8PR18TN",null,"FSMA"]
[null,null,null,null,null,null,null,null,"S10P17",null,"8PR20SA",null,"FO-SPL"]
[null,null,null,null,null,null,null,null,"S11P01",null,"8PR20XS",null,"FIOP-ST"]
[null,null,null,null,null,null,null,null,"S11P03",null,"8PR22OS",null,"FIOPMM6"]
[null,null,null,null,null,null,null,null,"S11P05",null,"9PR18OTN",null,"FIOPMM"]
[null,null,null,null,null,null,null,null,"S11P07",null,"AVA5RKFX",null,"FIBOPT06"]
[null,null,null,null,null,null,null,null,"S11P10",null,"CAT6",null,"FIBOPT"]
[null,null,null,null,null,null,null,null,"S11P15",null,"CAT6STLN",null,"FERRULE"]
[null,null,null,null,null,null,null,null,"S12P02",null,"CAT6TLN",null,"DB9SVC"]
[null,null,null,null,null,null,null,null,"S12P07",null,"CAT6UTP",null,"DB9S"]
[null,null,null,null,null,null,null,null,"S12P10",null,"CAT6X06R",null,"DB9PVC"]
[null,null,null,null,null,null,null,null,"S12P13",null,"CAT6X06S",null,"DB9P45"]
[null,null,null,null,null,null,null,null,"S13P07",null,"CAT6X06T",null,"DB9P18"]
[null,null,null,null,null,null,null,null,"S13P10",null,"FB140-50",null,"DB9P"]
[null,null,null,null,null,null,null,null,"S14P09",null,"FIBMM2-TF",null,"DB50P"]
[null,null,null,null,null,null,null,null,"S14P10",null,"FIBOPT",null,"DB50"]
[null,null,null,null,null,null,null,null,"S14P13",null,"FIBOPT-SM",null,"DB44S"]
[null,null,null,null,null,null,null,null,"S14P14",null,"FIBOPT04",null,"DB44P"]
[null,null,null,null,null,null,null,null,"S14P17",null,"FIBOPT06",null,"DB37S"]
[null,null,null,null,null,null,null,null,"S15P07",null,"FIBOPT1",null,"DB37P"]
[null,null,null,null,null,null,null,null,"S15P10",null,"FIBOPT12",null,"DB25S"]
[null,null,null,null,null,null,null,null,"S16P10",null,"FIBOPT9",null,"DB25P"]
[null,null,null,null,null,null,null,null,"S16P11",null,"FIBOSM02",null,"DB15S"]
[null,null,null,null,null,null,null,null,"S16P15",null,"FIBOSM12",null,"DB15P"]
[null,null,null,null,null,null,null,null,"S17P05",null,"FIBOSM24",null,"CUT"]
[null,null,null,null,null,null,null,null,"S17P09",null,"FIBOSM48",null,"CONSIP-P"]
[null,null,null,null,null,null,null,null,"S17P10",null,"FIBOSM72",null,"CONSIP-C"]
[null,null,null,null,null,null,null,null,"S18P10",null,"FIBSM288",null,"CONNEG-C"]
[null,null,null,null,null,null,null,null,"S18P15",null,"FIBSM4TF",null,"CAT6"]
[null,null,null,null,null,null,null,null,"S18P17",null,"FIBSM4-TF",null,"CASETTE"]
[null,null,null,null,null,null,null,null,"S19P03",null,"FIOPMM",null,"CAS24LR"]
[null,null,null,null,null,null,null,null,"S19P10",null,"FIOPMM12",null,"CAS24LC"]
[null,null,null,null,null,null,null,null,"S19P11",null,"FIOPMM2",null,"CAS12LR"]
[null,null,null,null,null,null,null,null,"S19P16",null,"FIOPMM24",null,"CAS06RJ"]
[null,null,null,null,null,null,null,null,"S20P02",null,"FIOPMM48",null,"BSR"]
[null,null,null,null,null,null,null,null,"S20P03",null,"FIOPMM6",null,"BS2"]
[null,null,null,null,null,null,null,null,"S20P10",null,"FOMMDP62",null,"BNC-TWN"]
[null,null,null,null,null,null,null,null,"S20P13",null,"FOMMR600",null,"BNCTRAX"]
[null,null,null,null,null,null,null,null,"S21P02",null,"FOSMLCDP",null,"BNC58"]
[null,null,null,null,null,null,null,null,"S21P10",null,"GX03272",null,"BNC240"]
[null,null,null,null,null,null,null,null,"S22P07",null,"LMR100FR",null,"BNC223"]
[null,null,null,null,null,null,null,null,"S22P10",null,"LMR200",null,"BNC200"]
[null,null,null,null,null,null,null,null,"S22P13",null,"LMR200FR",null,"BNC"]
[null,null,null,null,null,null,null,null,"S22P17",null,"LMR240",null,"Bananna"]
[null,null,null,null,null,null,null,null,"S23P10",null,"LMR240FR",null,"AMP8S"]
[null,null,null,null,null,null,null,null,"S23P11",null,"LMR2FRX4",null,"AMP36P"]
[null,null,null,null,null,null,null,null,"S23P13",null,"LMR400FR",null,"AMP24P"]
[null,null,null,null,null,null,null,null,"S24P05",null,"LMR400PL",null,"7-16DN7/8"]
[null,null,null,null,null,null,null,null,"S24P07",null,"LMR400WF",null,"6FERLS"]
[null,null,null,null,null,null,null,null,"S24P10",null,"LMR4FRX4",null,"5W5"]
[null,null,null,null,null,null,null,null,"S25P10",null,"LMR6FRX4",null,"4FERLS"]
[null,null,null,null,null,null,null,null,"S25P11",null,"M12CFM",null,"2FERLS"]
[null,null,null,null,null,null,null,null,"S25P13",null,"MD-02CH",null,"26FERLS"]
[null,null,null,null,null,null,null,null,"S26P07",null,"MDL-8607",null,"24FERLS"]
[null,null,null,null,null,null,null,null,"S26P10",null,"PREFAB",null,"22FERLS"]
[null,null,null,null,null,null,null,null,"S26P13",null,"PREFAB-VQ",null,"20FERLS"]
[null,null,null,null,null,null,null,null,"S26P17",null,"RG174",null,"18FERRLS"]
[null,null,null,null,null,null,null,null,"S27P10",null,"RG174\\U",null,"18FERLS"]
[null,null,null,null,null,null,null,null,"S27P11",null,"RG174TLN",null,"16FERRL"]
[null,null,null,null,null,null,null,null,"S27P13",null,"RG214TLN",null,"16FERLS"]
[null,null,null,null,null,null,null,null,"S28P07",null,"RG223",null,"12FERLS"]
[null,null,null,null,null,null,null,null,"S28P10",null,"RG223TLN",null,"10FERLS"]
[null,null,null,null,null,null,null,null,"S28P13",null,"RG58",null,"1/0FERLS"]
[null,null,null,null,null,null,null,null,"S29P04",null,"RG58PLEN"]
[null,null,null,null,null,null,null,null,"S29P07",null,"RG58R"]
[null,null,null,null,null,null,null,null,"S29P09",null,"RG58TLN"]
[null,null,null,null,null,null,null,null,"S29P12",null,"RGAHHT"]
[null,null,null,null,null,null,null,null,"S29P13",null,"RGAHRF"]
[null,null,null,null,null,null,null,null,"S30P06",null,"SA1-RTD"]
[null,null,null,null,null,null,null,null,"S30P10",null,"SENLEADS"]
[null,null,null,null,null,null,null,null,"S30P12",null,"THRM-CU"]
[null,null,null,null,null,null,null,null,"S30P13",null,"TRIAX"]
[null,null,null,null,null,null,null,null,"S30P14",null,"TWC-78FR"]
[null,null,null,null,null,null,null,null,null,null,"TYPE-C"]
[null,null,null,null,null,null,null,null,null,null,"TYPE-HV"]
[null,null,null,null,null,null,null,null,null,null,"VACEXG"]
[null,null,null,null,null,null,null,null,null,null,"VACEXGS"]
[null,null,null,null,null,null,null,null,null,null,"VACHFG"]
[null,null,null,null,null,null,null,null,null,null,"VACNEG1"]
[null,null,null,null,null,null,null,null,null,null,"VACNEG2"]
[null,null,null,null,null,null,null,null,null,null,"VACNEG3"]
[null,null,null,null,null,null,null,null,null,null,"VACSIP"]
[null,null,null,null,null,null,null,null,null,null,"VACTMP"]
[null,null,null,null,null,null,null,null,null,null,"VACVQM"]
[null,null,null,null,null,null,null,null,null,null,"VMECABLE"]
[null,null,null,null,null,null,null,null,null,null,"YR44731"]

{"sheet":"CodingSheetSource","index":3,"n_rows":5,"n_cols":34,"rows_kept":5,"cut":false,"hidden":false,"merged":[[1,0,2,0]]}
["4/19/2016",null,null,null,null,"Origin Termination Point          - - -          Origin Termination Point          - - -          Origin Termination Point",null,null,null,null,null,null,null,null,null,"Destination Termination Point - - -  Destination Termination Point  - - - Destination Termination Point"]
["Max Length of Data:"]
[null,9,14,33,8,6,6,1,2,6,8,16,7,6,3,6,6,1,2,6,8,16,7,6,3,4,50,2,6,null,null,null,80,7]
[null,null,null,null,null,"Origin Termination Point          - - -          Origin Termination Point          - - -          Origin Termination Point",null,null,null,null,null,null,null,null,null,"Destination Termination Point - - -  Destination Termination Point  - - - Destination Termination Point",null,null,null,null,null,null,null,null,null," "]
["Line #","Cable #","Formal Device Name","Cable Function","Cable Type","Loc","Rack","Sid","Ele","Slot","Conn #","Pin List","Conn. Type","Station","Ins","Loc2","Rack3","Sid4","Ele5","Slot6","Conn #7","Pin List8","Conn. Type9","Station10","Ins11","Length","Routing","Revision","Job #","Drawing #","Drawing Title","User ID","List Title","Area Cd"]