RCH, 04/11/02

Magnetic Shielding for ACD Photomultipliers

Requirement

ACD has agreed to tolerate a magnetic field (any orientation) of 2 Gauss (0.1 milliTesla).

According to the accompanying Hamamatsu figure R647.magfld.data.pdf, a type R647 PMT (the commercial equivalent of the R4443 ACD flight PMT) exhibits a gain decrease of 10% at ~2 Gauss.  This would be almost tolerable without magnetic shielding.  However, since the Hamamatsu figure is for a single non-flight PMT, we need to reduce the 2 Gauss external magnetic field by at least a factor of 10 at the location of the ACD PMT's.

Shielding Calculations

The shielding factor of an infinite cylinder of diameter D, wall thickness , and magnetic permeability  is

.

For the best (low field) magnetic shielding materials (80% Ni - 20% Fe :  Mu-Metal, Co-Netic, Shieldmu 30, AdMu-78), ( ~ 4(104 for low fields.

For soft iron, ( ~ 2000.

For a semi-infinite cylinder, the shielding factor is

,

where  is the shielding factor for the infinite cylinder and  is an effective shielding factor for the opening (from A. J. Mager):

,

where  is the distance from the end of the semi-infinite cylinder to the point of measurement (positive inside the shield).

For x = 0 (no extension of the shield past the PMT face), S0 = 3, and

,

which gives a maximum shielding factor of 3 regardless of Si (i.e., the thickness and permeability of the magnetic shield).  This is not adequate for the ACD PMT's.

For  , (the canonical relationship for PMT shielding),  , so

.

For a 15 mm diameter PMT recessed 8.5 mm into a high permeability 17 mm shield of thickness 0.2 mm,

,

.

If soft iron (( ~ 2000) is used for the same task (15 mm diameter PMT recessed 8.5 mm into a 17 mm shield of thickness 0.2 mm),

, and

,

which is adequate for ACD.

Conclusions

It is essential that the magnetic shielding extend past the face of the PMT.  The nominal extension is one radius of the shield.

The PMT magnetic shielding requirement for ACD is very minimal.  It does not require high permeability shielding material; 0.2 mm of any material with permeability (at 2 Gauss ) (1000 would suffice.