## Sheet1
Test Phase | SEQ# | Test | SE P/F | SE | Log S/O | Expert | Expert P/F | Comment | Run/Shift Report | Status Ac/An |  |  | Test Script Name | Test Output | SVAC Reports | Events / Errors | Duration (s) | Start(GMT) | Orientation
Hot_3 LPT | 757 | LAT221 | Pass | Bright |  | Borgland or Grove |  | * Problem! At least one of the extended counters decreased from one event to the next one 13685 times! Check the log file for more details. | 77008982 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_LAT-22xGammafilterNoPer_0.50hr | DAQ | digi | 26484/0 | 1880 | 2006-08-25 16:52 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 757 | LAT221 | Pass | Bielawski |  | Borgland or Grove |  | The number of events in the digi file does not agree with the extended GEM sequence counter! The difference is -131072 events. At least one of the extended counters decreased from one event to the next one 2 times! | 77008983 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_LAT-22x_0.17hr | DAQ | digi | 149937/0 | 693 | 2006-08-25 17:26 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 758 | LAT231 | Pass | Bielawski |  | Borgland or Grove |  |  | 77008984 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 17:44 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 758 | LAT231 | Pass | Bielawski |  | Borgland or Grove |  |  | 77008985 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_B-31_0.01hr | DAQ | digi | 8226/0 | 116 | 2006-08-25 17:44 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 758 | LAT231 | Pass | Bielawski |  | Borgland or Grove |  | At least one of the extended counters decreased from one event to the next one 3 times! | 77008986 | PASSED na | / | (xxx,xxx,) | LatGrbHandling | DAQ | digi | 32668/0 | 195 | 2006-08-25 17:46 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  |  | 77008987 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 78 | 2006-08-25 17:52 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  |  | 77008988 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 17:55 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  |  | 77008989 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdPedestal_AcdLPT_23.0C_3.3V | DAQ | digi | 2000/0 | 107 | 2006-08-25 17:55 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  |  | 77008990 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdTciRegRange_AcdLPT_23.0C_3.3V | DAQ | digi | 6400/0 | 128 | 2006-08-25 17:57 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  |  | 77008991 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdGafeNoiseV2_AcdLPT_23.0C_3.3V | DAQ | digi | 41600/0 | 681 | 2006-08-25 17:59 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 759 | LAT311 | Pass | Bielawski |  | Charles |  | Acceptable ACD PMT Rail temperature failures pmtRailTemp: Warning: ACD PMT rail temperature 0 measured as 30.57C which is not within the required range of [-15.0, 30.0] pmtRailTemp: Warning: ACD PMT rail temperature 1 measured as 31.60C which is not within the required range of [-15.0, 30.0] pmtRailTemp: Warning: ACD PMT rail temperature 2 measured as 31.84C which is not within the required range of [-15.0, 30.0] pmtRailTemp: Warning: ACD PMT rail temperature 3 measured as 31.40C which is not within the required range of [-15.0, 30.0] | 77008992 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 138 | 2006-08-25 18:16 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 760 | LAT411 | Pass | Baun |  | Grove |  |  | 77008993 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 18:21 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 760 | LAT411 | Pass | Baun |  | Grove |  | 1) COM-63 All events have the incomplete time tone and Missing GPS flags set. 2) COM-62 At least one of the extended counters decreased from one event to the next one 16 times! | 77008994 | PASSED Failed | / | (xxx,xxx,) | intSeApp_calu_pedestals_ci_LPT | DAQ | digi | 9000/0 | 681 | 2006-08-25 18:21 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 760 | LAT411 | Pass | Baun |  | Grove |  | 1) COM-63 All events have the incomplete time tone and Missing GPS flags set. 2) COM-62 At least one of the extended counters decreased from one event to the next one 131781 times! | 77008995 | PASSED Passed | / | (xxx,xxx,) | intSeApp_calf_mu_trend_LPT | DAQ | digi | 131794/0 | 673 | 2006-08-25 18:32 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | - | LAT001 | Pass | Baun |  | Baun, Bielawski, Bright, or Hascall |  |  | 77008996 | PASSED null | / | (xxx,xxx,) | TcsStartup | DAQ | digi | #DIV/0! | 9 | 2006-08-25 18:46 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 761 | LAT511 | Pass | Baun |  | Tajima |  |  | 77008997 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 18:49 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 761 | LAT511 | Pass | Baun |  | Tajima |  | COM-63 All events have the incomplete time tone and Missing GPS flags set. | 77008998 | PASSED Passed | / | (xxx,xxx,) | intSeApp_TkrReadingConfigurationTest_LPT | DAQ | digi | 2880/0 | 349 | 2006-08-25 18:49 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 761 | LAT511 | Pass | Baun |  | Tajima |  | COM-63 All events have the incomplete time tone and Missing GPS flags set. | 77008999 | PASSED Passed | / | (xxx,xxx,) | intSeApp_TkrNoiseOccupancy_LPT | DAQ | digi | 100000/0 | 738 | 2006-08-25 18:55 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | - | - | Pass | Baun |  | #N/A |  | Run used to clear analysis queue. | 77009000 | PASSED null | / | (xxx,xxx,) | intSeApp_calf_shp_p01_CPT | DAQ | digi | 600/0 | 103 | 2006-08-25 19:09 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 762 | LAT131 | Pass | Baun |  | Baun, J. Thayer, or G. Thayer | Pass |  | 77009001 | PASSED null | / | (xxx,xxx,) | LatSc1553Interface | DAQ | digi | #DIV/0! | 365 | 2006-08-25 19:15 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 762 | LAT131 | Pass | Baun |  | Baun, J. Thayer, or G. Thayer | Pass |  | 77009002 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 77 | 2006-08-25 19:23 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 762 | LAT131 | Pass | Baun |  | Baun, J. Thayer, or G. Thayer | Pass |  | 77009003 | PASSED null | / | (xxx,xxx,) | LatScLoadShedInterface | DAQ | digi | #DIV/0! | 50 | 2006-08-25 19:25 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | - | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009004 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 19:37 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | - | LAT002 | Fail | Bright |  | Baun, Bielawski, Bright, or Hascall |  | started script without properly selecting HW config first. aborted script. | 77009005 | FAILED null | / | (xxx,xxx,) | LatPowerOnTurbo | DAQ | digi | #DIV/0! | 860 | 2006-08-25 19:37 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009006 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 19:56 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  | Acceptable temPsCurrent: Warning: TEM10 power supply current measured as 0.30 which is not within the required range of [0.001, 0.28000000000000003] ; calBpTemp: Warning: PDU1, TEM0, CAL baseplate temperature measured as 32.91 which is not within the required range of [-15.0, 30.0] ; temPsCurrent: Warning: TEM10 power supply current measured as 0.51 which is not within the required range of [0.20000000000000001, 0.5] ; tkrTemp: Warning: TEM0, TKR Cable 0, Temperature 0 measured as 36.78 which is not within the required range of [-15.0, 30.0] freeBoardTemp: Warning: FREE1 Temperature measured as 30.83 which is not within the required range of [-15.0, 30.0] | 77009007 | PASSED null | / | (xxx,xxx,) | LatPowerOnTurbo | DAQ | digi | #DIV/0! | 1006 | 2006-08-25 19:56 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009008 | PASSED null | / | (xxx,xxx,) | TcsStartup | DAQ | digi | #DIV/0! | 135 | 2006-08-25 20:13 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009009 | PASSED null | / | (xxx,xxx,) | CalHvbs | Dir | digi | #DIV/0! | 3 | 2006-08-25 20:15 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009010 | PASSED null | / | (xxx,xxx,) | TkrHvbs | Dir | digi | #DIV/0! | 2 | 2006-08-25 20:15 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  | Known: pmtRailTemp: Warning: ACD PMT rail temperature 1 measured as 31.33C which is not within the required range of [-15.0, 30.0] | 77009011 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 155 | 2006-08-25 20:16 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009012 | PASSED null | / | (xxx,xxx,) | PowerConsumptionTest | DAQ | digi | #DIV/0! | 11 | 2006-08-25 20:18 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 763 | LAT002 | Pass | Bright |  | Baun, Bielawski, Bright, or Hascall |  |  | 77009013 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_LAT-70x_0.01hr | DAQ | digi | 8585/0 | 115 | 2006-08-25 20:24 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 764 | LAT222 | Pass | Bright |  | Borgland or Grove |  | All tower plane 6s look hot. | 77009014 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_LAT-22xGammafilterNoPer_0.50hr | DAQ | digi | 26990/0 | 1880 | 2006-08-25 20:32 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 764 | LAT222 | Pass | Bright |  | Borgland or Grove |  | * Problem! At least one of the extended counters decreased from one event to the next one 46 times! Check the log file for more details. | 77009015 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_LAT-22x_0.17hr | DAQ | digi | 150217/0 | 692 | 2006-08-25 21:05 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 765 | LAT232 | Pass | Bright |  | Borgland or Grove |  |  | 77009016 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 21:23 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 765 | LAT232 | Pass | Bright |  | Borgland or Grove |  | * Problem! At least one of the extended counters decreased from one event to the next one 4 times! Check the log file for more details. | 77009017 | PASSED Passed | / | (xxx,xxx,) | intSeApp_e2e_B-31_0.01hr | DAQ | digi | 8421/0 | 115 | 2006-08-25 21:23 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 765 | LAT232 | Pass | Bright |  | Borgland or Grove |  |  | 77009018 | PASSED na | / | (xxx,xxx,) | LatGrbHandling | DAQ | digi | 32932/0 | 196 | 2006-08-25 21:25 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 766 | LAT312 | Pass | Bright |  | Charles |  |  | 77009019 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 76 | 2006-08-25 21:35 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 766 | LAT312 | Pass | Bright |  | Charles |  |  | 77009020 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 1 | 2006-08-25 21:37 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 766 | LAT312 | Pass | Bright |  | Charles |  |  | 77009021 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdPedestal_AcdLPT_23.0C_3.3V | DAQ | digi | 2000/0 | 105 | 2006-08-25 21:37 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 766 | LAT312 | pass | Bright |  | Charles |  |  | 77009022 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdTciRegRange_AcdLPT_23.0C_3.3V | DAQ | digi | 6400/0 | 127 | 2006-08-25 21:39 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 766 | LAT312 | ? | Bright |  | Charles |  | NCR913: 2006-08-25 21:49:13,893(UT) ScriptEngineCommon.py:686 ERROR - SIU: 21:49:12.170294 mLCI CCSDS_pktHdrCreate CSDS EPKTPARM Pkt function param err: length 2006-08-25 21:49:17,091(UT) ScriptEngineCommon.py:686 ERROR - SIU: 21:49:15.313089 mLCI CCSDS_pktHdrCreate CSDS EPKTPARM Pkt function param err: length. * Problem! At least one of the extended counters decreased from one event to the next one 6 times! Check the log file for more details. * There were 3 cycles with a maximum of 416 datagrams per cycle from SIU0 in this run with in average 33 events per datagram. * Problem! We dropped 594 datagram(s) from SIU0 in this run! | 77009023 | PASSED Passed | / | (xxx,xxx,) | intSeApp_AcdGafeNoiseV2_AcdLPT_23.0C_3.3V | DAQ | digi | 41600/0 | 679 | 2006-08-25 21:41 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Analysis | recon
[14 empty] | Dir | config
tkr
Hot_3 LPT | 766 | LAT312 | Pass | Bright |  | Charles |  | Known: acceptable pmtRailTemp: Warning: ACD PMT rail temperature 1 measured as 30.89C which is not within the required range of [-15.0, 30.0] | 77009024 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 137 | 2006-08-25 21:55 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 767 | LAT412 | Pass | Bright |  | Grove |  |  | 77009025 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 22:01 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 767 | LAT412 | Fail | Hascall |  | Grove |  | NCR 967 | 77009026 | PASSED Failed | / | (xxx,xxx,) | intSeApp_calu_pedestals_ci_LPT | DAQ | digi | 9000/0 | 695 | 2006-08-25 22:01 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 767 | LAT412 | Pass | Hascall |  | Grove |  | 132369 events with an incomplete time tone, 132369 events with a missing GPS lock Problem! At least one of the extended counters decreased from one event to the next one 66196 times! | 77009027 | PASSED Passed | / | (xxx,xxx,) | intSeApp_calf_mu_trend_LPT | DAQ | digi | 132369/0 | 671 | 2006-08-25 22:12 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 768 | LAT512 | Pass | Hascall |  | Tajima |  |  | 77009028 | PASSED null | / | (xxx,xxx,) | suiteStart | Dir | digi | #DIV/0! | 0 | 2006-08-25 22:27 | Horizontal
[9 empty] | Shift Summary | [5 empty] | recon
config
tkr
Hot_3 LPT | 768 | LAT512 | Pass | Hascall |  | Tajima |  |  | 77009029 | PASSED Passed | / | (xxx,xxx,) | intSeApp_TkrReadingConfigurationTest_LPT | DAQ | digi | 2880/0 | 353 | 2006-08-25 22:27 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 768 | LAT512 | Pass | Hascall |  | Tajima |  |  | 77009030 | PASSED Passed | / | (xxx,xxx,) | intSeApp_TkrNoiseOccupancy_LPT | DAQ | digi | 100000/0 | 739 | 2006-08-25 22:33 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | _ | LAT402 | Pass | Hascall |  | Grove |  | The number of events in the digi file does not agree with the extended GEM sequence counter! The difference is -131072 events. Is the onboard filter running? | 77009031 | PASSED null | / | (xxx,xxx,) | intSeApp_calf_shp_p01_CPT | DAQ | digi | 600/0 | 102 | 2006-08-25 22:49 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 769 | LAT132 | Pass | Hascall |  | Baun, J. Thayer, or G. Thayer |  |  | 77009032 | PASSED null | / | (xxx,xxx,) | LatSc1553Interface | DAQ | digi | #DIV/0! | 359 | 2006-08-25 22:56 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 769 | LAT132 | Pass | Hascall |  | Baun, J. Thayer, or G. Thayer |  |  | 77009033 | PASSED null | / | (xxx,xxx,) | AcdHvbs | DAQ | digi | #DIV/0! | 76 | 2006-08-25 23:04 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr
Hot_3 LPT | 769 | LAT132 | Pass | Hascall |  | Baun, J. Thayer, or G. Thayer |  |  | 77009034 | PASSED null | / | (xxx,xxx,) | LatScLoadShedInterface | DAQ | digi | #DIV/0! | 49 | 2006-08-25 23:08 | Horizontal
[9 empty] | Shift Summary |  |  |  |  | Dir | recon
config
tkr