## Slide 1
Zach Domke
03/09/2022
Invalid PVs Tool

## Slide 2: Location & Structure
  Directory available on Dev, LCLS, and FACET:
    $TOOLS/scripts/ValidatePVs
  3 executable scripts:
    $TOOLS/scripts/invalidPVs.bash
    $TOOLS/scripts/invalidPVs-Drive.bash
    $TOOLS/scripts/invalidPVs-Net.bash
  Available through eco
    eco –m ValidatePVs

## Slide 3: Objective
  Take list of PV names through stdin
  Use file containing valid Devices/Areas (based on the facility)
  Determine if each PV meets basic standards:
    Contains at least 4 fields separated by ‘:’
    Contains a valid Device field
    Contains a valid Area field
  Prints a list to stdout of invalid PV names from the given list
    If the –e and/or –i flags are used, the output will be correctly formatted to save as a .csv file

## Slide 4: Common Flags
  Optional flags that can be called on all 3 scripts:
    -e:
      Printed list includes the reason the PV name was invalid
      Only prints one error per run
      invalidPVs-Net.bash –e
      …
      ACSW:B912:NW01:3NAME,B912 not found
      ALRM:SYS0:VITARA2:ALHBERR,ALRM not found
      MOC:UNDH:2350M0,<3 :
      …
    -i:
      Printed list includes the IOC that contains the incorrect PV name
      invalidPVs-Net.bash –i
      …
      sioc-alh0-util00,1801:STATSUMY
      sioc-dev-cr05,4KCB:CP12:3630:ALM_RESET
      …

## Slide 5: Individual Scripts
  invalidPVs.bash
    Provide a list of PVs to check through stdin
      Examples:
      eget –ts ds –a name=SCORE:SYS0:% | invalidPVs.bash
      cat newPVNames.txt | invalidPVs.bash -e
    If no input is provided, the user will be able to enter PVs manually
      Exit will break the input loop
    No additional flags (only -e & -i)

## Slide 6: Individual Scripts
  invalidPVs-Drive.bash
    Check all PVs in a specified IOC
    Flag:
      -a IOC_NAME:
        Specify the IOC we are checking
        If –a is unused, then all IOCs are called $IOC_NAME = ‘*’
    Input used
      cat $IOC_DATA/$IOC_NAME/iocInfo/IOC.pvlist
    Examples
      invalidPVs-Drive.bash –e -i
      invalidPVs-Drive.bash –a sioc-sys0-op00

## Slide 7: Individual Scripts
  invalidPVs-Net.bash
    Check all PVs based on eget search results
    Flags:
      -w WAIT:
        Specify a wait time for the eget search
        Default is 3s (60s if –a is unused)
      -a NAME:
        Specify the name searched for with eget
        If –a is unused, then all PVs are called $NAME = ‘%’
    Input used
      eget –ts ds [-w $WAIT] –a name=$NAME
    Examples
      invalidPVs-Net.bash –w 10 –a SCORE:SYS0:%
      invalidPVs-Net.bash –e –i –a SCORE:SYS0:9:REGION

## Slide 8: Input Files
  2 versions are referenced:
    lcls_inputs.json
    facet_inputs.json
  The version used is determined by the $FACILITY_ROOT environment variable
  Both .json files consist of 2 arrays:
    Devices
    Areas
  Each array contains all valid strings for that field
  Altering the input files allows users to correct the validation process