Magnet Measurement Test Plan

Logistic Info

| Person Responsible |  |
| --- | --- |
| Phone # |  |
| Start Date |  |
| Finish Date |  |
| Acct # for alignment |  |

Magnet Designation and Type

| Project Name |  |
| --- | --- |
| Magnet Type |  |
| Magnet Name/Number |  |
| Serial # / PC # |  |
| Trim Coils | Yes / No | Trim Types |  |
| Magnet gap or diameter (mm) |  |

Alignment

| Coarse (1.0 mm)/Precision (0.05 mm) |
| --- |
| Has the magnet been fiducalized | Yes / No |
| If it has not been fiducalized, what is origin point of the magnet, what is its coordinate system and what surfaces should be used for alignment? | ? |
| + Z direction of magnet (Please provide drawing) | ? |

Special Alignment Tolerances

| X |  |
| --- | --- |
| Y |  |
| Pitch |  |
| Yaw |  |
| Roll |  |

Water and Power.

| Water Pressure | ? | PSI |
| --- | --- | --- |
| Water Flow | ? | Gpm |
| Maximum Current Main | ? | Amps |
| Max Current Trims | ? | Amps |

Polarity

| Main Coil Polarity. (Nearest North pole to Horizontal look in +z direction) | ? |
| --- | --- |
| 1st Trim Polarity (Nearest North pole to Horizontal look in +z direction) | ? |
| 2nd Trim Polarity (Nearest North pole to Horizontal look in +z direction) | ? |

Temperature Tests

| Temperature and Resistance Test | Yes / No |
| --- | --- |
| Areas to be measured | ? |
| Currents (Amps) | ? |
| Check water flow | Yes / No / N/A |

Standardization

| Magnet warm up. ? time (mins) @ ? current (Amps) | ? mins @ ? Amps |
| --- | --- |
| Conditioning Standardization Cycles Performed before measurements: | ? |
| Number of Stdz cycles |  |
| Ramp Rate (A/s) | ? | Minimum Current (A) | ? |
| Settle Time (sec) | ? | Maximum Current (A) | ? |
| Ramp Type (Linear or Three Linear or Cosine | ? |

Measurements

| Integrated Strength | Main | Yes / No | Trims | Yes / No |
| --- | --- | --- | --- | --- |
| Currents | ? | ? |
| Harmonics | Main | Yes / No | Trims | Yes / No |
| Currents | ? | ? |

| Harmonic Tolerances (as % of main, Main =100 %) |
| --- |
| Dipole n = 1 | Quadrupole n = 2 | Sextupole n = 3 | n = |
| ? | ? | ? | ? |

Field Map

| Type of map? (Transverse, axial, 3D) | ? |
| --- | --- |
| Dimensions ( X, Y, Z) | ? |
| Spacing between step (X, Y, Z) | ? |

Notes and Additional Tests: