## CABLE TRAY GUIDE

T	X	YYYY		G	01

ARBITRARY NUMBER: 1 THRU 99

TRAY FUNCTION:

A	= AC POWER

AF	= AC POWER AND I&C CABLES

F	= INSTRUMENTATION & CONTROL

CABLES.

FG	= I&C CABLES AND DC CABLES.

FGP	= I&C CABLES, DC CABLES AND HIGH

VOLTAGE CABLES.

FP	= I&C CABLES AND HIGH VOLTAGE

CABLES.

G	= DC CABLES.

GP	= DC CABLES AND HIGH VOLTAGE

CABLES.

P	= HIGH VOLTAGE CABLES.

LOCATION:

A	= TUNNEL AISLE CABLE TRAYS.

B	= BLDG NO., I.E. 116,118,119, ETC.

ESP	= EAST STRAIGHT PENETRATIONS 1-4.

EW	= EAST-WEST CABLE TRAYS.

G	= GIRDERS NO. 1 THRU 18.

P	= SHIELDWALL PENETRATIONS 1-99.

R	= INSIDE RING CABLE TRAYS.

RY	= RESEARCH YARD.

WSP	= WEST STRAIGHT PENETRATIONS 1-4.

10	= PEPII REGION 10.

TRAY SIZES:

A	= 30”X4”

B	= 24”X4”

C	= 18”X4”

D	= 12”X4”

E	=   6”X6”

F	=   9”X4”

G	=   4”X4”

H	=   9”X6”

I	=   6”X4”

RACEWAY DESIGNATION:

T	= TRAYS

W	= WIREWAYS