Control System for 8-pack Meeting

28 August 2002

In attendence:

S Allison, J Rock, J Nelson, S Smith, R Chestnut, K Kim

Note taker: J Nelson

First Janice showed the 16 panels which have been done, including Judy’s db_vacp display and Alissa’s dm2k plots (though they don’t have channels yet).

A couple changes were requested by audience members which Janice will implement.

Judy reported that the database exists for the PLC list and is loaded in TR07 and working.  She will do a similar work-up on Andrew’s channel assignment list.  Steve said he/Andrew will have the DIO channel mapping for the September 3rd meeting.

We still don’t know how to read the M-table (the Zup power supply variables in the PLC) and Cassel? is working on it.

Steve reported he will get the I/Q->A/P equation to Steph and Kukhee in the next few days.

Steph showed the recently updated Task List with an increasing numbers of “done” items.  Discussion points:

-There’s a stack of digitizers in Ginger’s office.  Kukhee will label, set switches, and install them in TR07 ASAP.

-TR08 IOC?  Ron will call appropriate folks to get one from the Closet moved to ESB, and Steph and Judy will configure it.

-Steph anticipates most database work will be done by 9/6 (her last day before vacation), but not the alarm handler and the summaries.

-Open questions for when needed and when might be done for the Fast Process algorithms and the Oracle Archiver.

Steve said it will probably be about 3 weeks until we have an IQA module in a VME crate in ESB.  We should have power into these modules soon thereafter.  (So 9/20 date on task list is not too far off.)

For the 9/3 meeting:

-Status on VME-to-DCM testing with phony (NLCTA) data (Alan Hill/Steph/et al)

-Get updated requirements from Cassel, including answers to these questions:

- How do we calculate trigger count from trigger count low (I:1.22) and trigger count high (I:1.23)?

- How do we get Zup supply data from the M1 table?

- Which statuses are latched?

-Status of ADC software (Kukhee)

-Status of ADC/DAC templates (Judy)

-DIO channel mapping (Andrew/Steve)

-Status of modules/TR08 in ESB (Steph/Ron)